## 2012
SPR RMA's PVP Shipping | [5 empty] | Complete case
2012 (6/14/12) SA | [5 empty] | Issues / outstanding
No case notes
In route
VOID
Line Item | Date Open | Case# | PVP RMA | Status | SPR RMA No | Product | Qty | GEN | Serial No | Customer | Phone Number | Address | Comment | Recvd date | Issue | Failure mode | Present Status | Outstanding
1 | 1905-07-02 | 23174 | 232428344 VOID | Ready for pick-up | 10202083 | SPR-5200 | 1 | 3 | SP520G3021008062 | REVCO SOLAR | Attn: Jimmy Bessler or Mark, Tel: 949-367-0740 | 26631 CABOT RD. SUITE B, LAGUNA HILLS, CA 92653 | 11/20: Revco returned inverter serial # SP522400610071658, which is a good unit. Additionally, we still need to pick up serial # SP520G3021008062. SPR will confirm that serial # SP520G3021008062 is ready to be picked up. SP522400610071658 on hold until a disposition is made. 4/19: Dispatched pick up for serial number SP520G3021008062 only. 4/26: Contacted installer and they stated that they do not have this inverter. | VOID | SPR 5200 - 1000-0000-0001 Fault - SP520G3021008062 Description Mark called reported a SPR 5200 hundred with 0000 0000 00001 error of PS Fault. Mark Mention that they just replaced the inverter some time ago | VOIDED per email from Chona Alandy on 2/6/12 |  | VOID
2 | 1905-07-02 | 43061 | 72255323 VOID | Ready for pick-up | 10203638 | SPR5200 | 1 | 3 | SP522400610071661 | Solar Plus | Attention : Hebert Escalona Phone : 6194883681 Phone Alt : 7609750111 | 2067 WINERIDGE PLACE SUITE C ESCONDIDO, CA 92029 United States | Received 1/6: Received serial number SP522400610071661 instead of SP520631110070102 and also returned SP522400610071640. On pending status until serial number SP522400610071640 is returned back to SPR. 4/20: Per SPR email, will follow up again with the PSRs. 4/21: Dispatched pick up for serial number SP520631110070102 5/6: left 3 messages no return call, last message left on 05/04 5/23: Left several messages with no call back. 6/14: Called again and still no call back. | VOID | SPR5200 - Error 1000-000-0600 - S/N: SP520G31110070102 ********************************************** Disposition: Replace (2) two SPR5200 inverter with the SPR5000m inverters Shipping address: Account address in SF (1) one Good inverter Link to Case number: 00044521 ********************************************** Michael Wren - SolarPlus Phone: 7605210864 Alt Phone: 6196095357 Inverter with issue : SPR5200 Serial # : SP520631110070102 SPR5200 (working) Serial # : SP522400610071640 Configuration : 40 pcs - 2x10 SPR215 Troubleshooting: Inverter display and 600 error Both AC and DC fuse tested ok Tested for ground fault - No groud fault detected Powercycled and inverter worked ok Same issue occured and customer is complaining for the recurring issue No further trouble shooting Home Owner Information Name : Aldan Gomez Address : 1155 Meiirritt Dr Alcahon CA 92020 | VOIDED per email from Chona Alandy on 2/6/13 |  | VOID
3 | 2011-03-31 | 60352 | 4513811254 VOID | Ready for pick-up | 10204600 | SPR-3200 | 1 | 1 | SP32240121005536 | QUAD STATE SOLAR | Jonathan Lane (516) 935-3273 | 22 DEVONSHIRE COURT,PLAINVIEW, NY 11803, US | 4/18/11 Dispatched pickup 5/6:Left 2 verbal messages with Dorothy she was going to check into this and call me back. Last message left 04/28 5/23: Left serveral messages with no call back. 6/27: Spoke with Dorthy and will call back, no call back has been given yet. | VOID | Dan on jobsite doing a service call , SPR3200 shutting down upon shutting down, LCD will be out, but the Red and Green light and on simultaeneously. | VOIDED per email from Chona Alandy on 2/6/14 |  | VOID
4 | 2011-04-27 | 56115 | 956912184 VOID | Ready for pick-up | 10204454 | SPR2000 | 1 | 2 |  | One World Sustainable | Keith Freeman (912) 236 1322 | 4119A Ogeechee Rd Savannah, GA 31405 | 5/23: Need serial number before pickup. | VOID | Additional information received from Keith 2.14: - HO Information: Ted Turner 29 Greenhorn RD South Alder, MT 59710 - Install date was September 2006 - System details: 5.16kW SunPower System 2-SPR2000 inverters The modules in the array are SPR215 blk – two WattSun trackers with 12 modules each Two strings of six modules for each tracker - Ship to information of replacement inverter: C/O Kenworthy Electric Attn: Dan Kenworthy 105 Bieler Lane Sheridan, Mt. 59749 (406) 842-5865 -------------------------------------------------------------------------------------------------- Call from Randy (2.10) asking assistance troubleshooting an SPR2000 inverter. - Randy said the AC fuse keeps on blowing. Checked VAC and it is 119V. Randy replaced the AC fuse 3x and still getting a busted fuse. - Told Randy we'll send a replacement. Unfortunately, Randy doesn't have the details of the site (HO information and system details). Randy told me to call Keith Freeman (912 236 1322) to get the information. - According to Randy, the site has 2-SPR2000 inverters and have 12-SPR215 modules each. - Did out bound call to Keith but he's not available. Left a VM with the case #. | VOIDED per email from Chona Alandy on 2/6/14 |  | VOID
5 | 2011-07-28 | 71794 | 87415404 | Ready for pick-up | 10205290 | SPR-3200 | 1 | 1 | SP32240121005515 | Real Goods Solar | Nick Parsons 4153425687 | 27 Simms Ave, San Rafael, CA, 94901, US | 8/4/11: Dispatched pickup 8/22: Have left 4 messages and no return call 1/23/12: Dispatched pickup 1/30: Customer does not have the unit being requested for pickup. |  | Caller at the site and reporting an SPR3200 that has a Dead LCD Green LED is showing on the inverter He can hear the inverter humming (operating) Power cycle / Nothing on the display No further trouble shooting Installation Date is approximate At the site there are 2 SPR3300x and 2 SPR3200 |  |  | Pending
6 | 2011-08-03 | 72247 | 274315414 VOID | Ready for pick-up | 10205324 | SPR-3200 | 1 | 1 | SP32240061005166 | MERCURY SOLAR SYSTEMS, INC. NJ | Phil Aiello, (877) 643-8786 | 5270 Oakwood Boulevard Mays Landing, NJ 08330, United States | 8/4/11: Dispatched pickup 8/22: spoke with Typhoon on 08/08 and he said he would be checking into and then calling back, he never called back so we have left him 2 messages | VOID | Inverter Start up Sequence Tony Mercury solar mayslanding SPR2000 - OK SPR3200 - Fault 0000 0000 0000 SP32240061005166 -90 watts PV input 385 V AC = 120.7 / 121.9 / 242.8 DC = 383.6 | VOIDED per email from Chona Alandy on 2/6/14 |  | VOID
7 | 2011-08-30 | 72232 | 99515564 684515574 VOID | Ready for pick-up | 10205319 | SPR-3200 | 2 | 2 | SP32240041006879 SP32240121005313 | Solar Energy Center, Inc. | Don McFall - 760-416-1101 | 820 E. RESEARCH DR., STE #1 PALM SPRINGS, CA 92262 United States | 9/20/11: Dispatched pickup Has 3 inverters to return. SPR needs to contact Installer. | VOID | SPR3200-SP32240041006879-Intermittent Operation | VOIDED per email from Chona Alandy on 2/6/14 |  | VOID
8 | 2011-11-16 | 76865 | 947015814 113515824 | Ready for pick-up | 10205550 | SPR3200 | 2 | 1 | SP32240041006874/ SP32240041006873 | MERCURY SOLAR SYSTEMS, INC. | Phil Aiello, (877) 643-8786 | 5270 Oakwood Boulevard Mays Landing, NJ 08330, United States | Received | 2012-02-03 | dead inverter | Gen 1 | Scrapped | Closed
9 | 2011-11-16 | 81545 | 813915834 | Ready for pick-up | 10205752 | SPR3200 | 1 | 1 | SP32240031005236 | MERCURY SOLAR SYSTEMS, INC. | Phil Aiello, (877) 643-8786 | 5270 Oakwood Boulevard Mays Landing, NJ 08330, United States | Received | 2012-02-03 | All zero code and Negative AC Power Output (-118W) | Gen 1 | Scrapped | Closed
10 | 2011-11-30 | 85693 | 171115864 | Ready for pick-up | 10205961 | SPR-5200 | 1 | 2 | SP52240011006287 | Alteris Renewables, Inc. | Marvin Chase/ Rich Daugirda (860) 501-2205/ (774) 210-0326 | 32 TAUGWONK SPUR, BLDG. 32, UNIT A-12, Stonington, CT 06378 | Received | 2012-02-03 | SPR-5200 - S/N SP52240011006287 - Intermittent power output | Gen 2 | Scrapped | Closed
11 | 2011-12-13 | 79947 | 904615884 | Ready for pick-up | 10205670 | SPR-5200 | 1 | 2 | SP522400071006453 | Jersey Solar, LLC | Rick - 609-466-8040 or 732-267-0398 | 408 LAMBERTVILLE-HOPEWELL RD Lambertville, NJ 08530 US | Received | 2012-02-03 | SPR5200 - showing 1000 0000 0200 (AC under voltage) | Gen 2 | Scrapped | Closed
12 | 2012-01-12 | 85176 | 245015894 | Ready for pick-up | 10205937 | SPR2900 | 1 | 1 | SP29208061005118 | One World Sustainable Energy Corporation | Jake Freeman (912) 604-3798 | 206 S. Gilmer St. Lexington, GA 30648 | Received | 2012-03-16 | Error code 1000 0000 0200 | Gen 1 | Scrapped | Closed
13 | 2012-01-20 | 88671 | 690415904 | For return via FedEx | 10206150 | SPR3500 | 1 | 2 | SP35240121006134 | Baker Electric Solar | Erica Tanner (760) 745-2001 Office (760) 690-5152 Direct | 1298 Pacific Oaks Place, Escondido, CA 92029 | Fed Ex return, have not received. 6/14: Still have not received. |  | Multiple issue - Under Producing Power/producing unusual noise |  |  | Open
14 | 2012-02-01 | 79519 | 730215974 | Ready for pick-up | 10205718 | SPR-5200 | 1 | 2 | SP522400310071253 | Stellar Solar | Evan: 619 990 3510 | 364 Second St. Suite 14, Encinitas CA 92024 | Received | 2012-02-24 | SPR5200-SP522400310071253-Negative Output | Gen 2 | Scrapped | Closed
15 | 2012-02-06 | 65683 | VOID | Ready for pick-up | 10204944 | SPR-3200 | 1 | 1 | SP32240121005443 | NAL Hayward | Gustavo or Javier- (510) 782-6519 Ext 1904 | NAL Syncreon - Hayward, CA Office, 3525 Arden Road, Suite A,Hayward, CA 94545 | 2/10/12: Dispatched Pickup 3/16: Received an empty shell, cabinet is empty with no components or UL label. Can not accept this return. SA 3/21: VOID per an email from SunPower | VOID | SP3200-S/N SP32240121005443-All zero code (half production) | VOID | VOID | VOID
16 | 2012-02-29 | 76365 | 587316014 228216024 | Ready for pick-up | 10205526 | SPR-3200 | 2 | 1 | SPR32240121005289 and SPR32240121005291 | NAL Monroe | Tina Kroh 609-409-5921 x 255 Andre Majett 609-409-5921. ex 266 | NAL Monroe ,6B Fitzgerald Ave. Monroe Township NJ 08831 | 3/7/12: Dispatched Pickup 3/16: In Transit 6/14: Still investigating |  | 2 SPR3200 - SPR32240121005289 and SPR32240121005291-Negative AC Watts |  |  | Open
17 | 2012-03-01 | 49620 | 358816044 | Ready for pick-up | 10204710 | SPR-3200 | 1 | 1 | SP32240021006734 | REC Solar Inc | Bryan Houseman or Fay Belk 805-234-5090 | 775 fiero suite 200 San Luis, obispo CA 93401 | Received | 2012-04-06 | SPR3200 - SP32240021006734 - "Underproducing" | Gen 1 | Scrapped | Closed
18 | 2012-03-06 | 89481 | 228716054 | Ready for pick-up | 10206092 | SPR-3200 | 1 | 1 | SP322400510061022 | Real Goods Solar | Tayfun Usta - 415.419 7816 cel 415.295 4967 office | 27 Simms St. San Rafael, CA 94901 | Received | 2012-03-23 | SPR3200 - SP322400510061022 - Shorted DC Inputs | Gen 1 | Scrapped | Closed
19 | 2012-03-13 | 96668 | 289616064 | Ready for pick-up | 10206422 | SPR-5200 | 1 | 2 | SP522400610071758 | NAL Hayward | Gustavo or Javier- (510) 782-6519 Ext 1904 | NAL Syncreon - Hayward, CA Office, 3525 Arden Road, Suite A,Hayward, CA 94545 | Received | 2012-03-23 | SPR5200-S/N SP522400610071758-All zero code (standby)/Intermittent Operation | Gen 2 | Scrapped | Closed
20 | 2012-03-21 | 100326 | 702016094 | Ready for pick-up | 10206420 | SPR - 2000 | 1 | 1 | SP20120011006307 | GeoGenix LLC | Santosh Adi - 732-343-7490 | 8998 ROUTE 18 OLD BRIDGE, NJ 08857 United States | Received | 2012-04-20 | Error Code: 1000 0000 0001 | Gen 1 | Scrapped | Closed
21 | 2012-03-30 | 106653 | 870016104 | Ready for pick-up | 10206685 | SPR-3200 | 1 | 1 | SP32240041006943 | Real Goods Solar | Liam Ryan 831-566-1478 | 1968 Junction Ave San Jose CA 95131 | Received | 2012-04-20 | SPR-3200 - SP32240041006943 - Red LED and No LCD | Gen 1 | Scrapped | Closed
22 | 2012-04-02 | 96499 | 103316114 | Ready for pick-up | 10206664 | SPR-5200 | 1 | 2 | SP52242111025193 | Real Goods Solar | Please contact Nick - 415-342-5687 | 27 Simms St. San Rafael, CA 94901 | Received | 2012-04-13 | SPR5200-S/N SP52242111025193-Red and Green LED on/Blank Display | Gen 2 | Scrapped | Closed
23 | 2012-04-02 | 71796 | 625316124 | Ready for pick-up | 10205357 | SPR2000 | 1 | 1 | SP20120021006337 | Occidental Power | Please Contact: Keith Burkland- 415-286-1480 | 5983 Mission St. Daly City CA CA 94014 | 4/9/12: Dispatched Pickup 6/14: Need more information. Customer stated that SPR send a label to have it shipped back. Unit has not been received. |  | SPR2000 - Seria#: SP20120021006337 - Intermittent operation |  |  | Pending
24 | 2012-04-04 | 96711 | 739716134 | Ready for pick-up | 10206551 | 5200 | 1 | 2 | SP52240071006439 | Bland Solar | Please contact Brandon Bice - 6618363880 | 4303 E. Brundage Lane, Bakersfield, CA 93307 | Received | 2012-04-13 | Subject SPR-5200 - 1000-0000-0001 error | Gen 2 | Scrapped | Closed
25 | 2012-01-28 | 100611 | 717516144 89416154 | Ready for pick-up | 10206501 | SPR3200 | 2 | 1 | SP32240121005604 SP32240121005609 | American Solar Electric | Nick Finlay 480-941-7442 Cell: 480-290-1097 | 5720 S 40th Street Phoenix, AZ, 85040, US | Received | 2012-05-04 | Had blown AC fuses, replaced and inverter blew them right away again | Gen 2 | Scrapped | Closed
26 | 2012-03-20 | 111884 | 879516164 | Ready for pick-up | 10206845 | SPR2000 | 1 | 1 | SP20120121005295 | Occidental Power | Mr. Keith Burkland -415 2861480 | 5983 Mission St. Daly City CA CA 94014 | Received | 2012-05-04 | Started inverter, board sparks, then inverter goes dead | Gen 1 | Scrapped | Closed
27 | 2012-04-05 | 115538 | 474816174 | Ready for pick-up | 10206886 | SPR-5200 | 1 | 2 | SP52240121006966 | Revco Solar Engineering Inc | Taylor Wright - 949.367.0740 Ext. 110 | 26631 Cabot Rd., Suite B. Laguna Hills, CA. 92653 | Received | 2012-06-08 | SPR5200 - SP52240121006966 - Low Power ERROR 0000 0000 000 (18 Watts AC) | Gen 2 | Scrapped | Closed
28 | 2012-05-14 | 111884 |  | VOID | 10206845 | SPR2000 | 1 | 1 | SP20120121005295 | Occidental Power | Keith Burkland Tel: 415 2861480 | 5983 Mission Street, Daly City, CA 94014 | Duplicate w/ Line 26 |  | SPR2000 SN:SP20120121005295-Defective Board-Keith |  |  | Void
29 | 2012-05-21 | 125563 | 392416184 | Ready for pick-up | 10207157 | SPR-5200 | 1 | 2 | SP52240121005230 | GeoGenix LLC | Gil Rieser - 2016647874 | 8998 ROUTE 18 OLD BRIDGE, NJ 08857 United States | 5/22/12 Dispatched Pickup 6/14: left several message to schedule the return but no reply |  | SPR5200 - 0200 error - |  |  | Open
30 | 2012-05-21 | 121709 | 900416194 | Ready for pick-up | 10207082 | SPR-5200 | 1 | 2 | SP522400410071080 | Mohr Power Solar, Inc. | Jeffrey Cohee - 951-642-9603 | 1452 POMONA ROAD Corona, CA 92882 United States | Received | 2012-05-30 | Solid Red LED/Blank LCD | Gen 2 | Scrapped | Closed
31 | 2012-06-18 | 106070 |  | Ready for pick-up | 10206632 | SPR-5200 | 1 |  | SP52240091006641 | QUAD STATE SOLAR | Domenica Tantillo 516 471-1920 x711 | 22 Devonshire Court Plainview, NY 11803 |  |  | SPR5200 - S/N SP52240091006641 - Error Code 1000 0000 0001
32 | 2012-06-27 | 113983 |  | Ready for pick-up | 10206846 | SPR-3200 | 1 |  | SP32240121005428 | Arise Solar | Edgar Schillaci 559-577-0266 | 2491 Alluvial Ave Clovis, CA 93611
33 | 2012-07-03 | 127389 |  | Ready for pick-up | 10284308 | SPR5200 | 1 |  | SP52240111005194 | Real Goods Solar | Tyfun Usta 415) 419-7816 | 27 Simms St. San Rafael CA
34 | 2012-07-03 | 77641 |  | Ready for pick-up | 10205593 | SPR4600 | 1 |  | SP46208011007194 | Real Goods Solar | Tyfun Usta 415) 419-7816 | 27 Simms St. San Rafael CA
35 | 2012-07-03 | 71794 |  | Ready for pick-up | 10205290 | SPR3200 | 1 |  | SP32240121005515 | Real Goods Solar | Tyfun Usta 415) 419-7816 | 27 Simms St. San Rafael CA
36
37
38
39
40
41
42